Modeling of the Photodecomposition Products of Ranitidine Hydrochloride

With N, N’ – Dimethylnitroacetamidine.

Christopher Downing

Submitted: December 23, 2003

College of Saint Benedict and Saint John’s University, Minnesota 56321

Abstract

The direct photodecomposition products of Ranitidine Hydrochloride is modeled using N, N’ – dimethylnitroacetamidine.  The resulting products are isolated using High Pressure Liquid Chromatography, LC.  Spectral Data is gathered using a Mass Spectrometer detector on the LC.  The Isolated peaks will be tested to be reproducible.  The model compound, N, N’ – Dimethylnitroacetamidine, exhibits some of the same characteristics as the Ranitidine Hydrochloride in the LC and LC/MS data.  Both have a product that has the same starting weight, but different ion fragmentation, UV absorbencies, and is more polar.  This indicates a possible rearrangement.

Introduction

The intent of this research is to determine the photodecomposition products of N, N’ – Dimethylnitroacetamidine using LC/MS.  N, N’ – Dimethylnitroacetamidine models the moiety of Ranitidine Hydrochloride that undergoes direct photolysis.  The kinetics, direct and indirect photolysis information combined lead to the selection of this model compound.1

With the knowledge of the products formed by the photodecomposition of N, N’ – Dimethylnitroacetamidine it is hoped to find similarities in the decomposition of Ranitidine Hydrochloride, and thus determine the photodecomposition products.

Direct photolysis occurs when the compound being studied directly absorbs the UV light and then undergoes a reaction, resulting either in a rearrangement, or the loss of a functional group.

Ranitidine Hydrochloride is an H-2 receptor antagonist.2  Ranitidine blocks histamine in the stomach, interfering with the production of stomach acid.3  One commercial name for Ranitidine is Zantac®.  The gastrointestinal pharmaceutical may not be completely metabolized by the body resulting in the excretion of some Ranitidine.

It is important to understand the environmental fate of pharmaceuticals and the broader group of Pharmaceuticals and Personal Care Products, further known as PPCPs.  PPCPs travel from the household, industry, and water runoff into water treatment plants, but may not be biodegraded, and appear in holding waters. 4  This may be a major environmental pollutant, due to the consistent use of PPCPs.

Results

Figure 1.

Figure 2.

Figure 3.

N, N’ – Dimethylnitroacetamidine - Photodecomposition

Figure 4.

Figure 5.

Ranitidine Hydrochloride

Figure 6.

Figure 7.

N, N’ – Dimethylnitroacetamidine – Separation

Figure 8.

10 cm Discovery RP Amide C16 Column (Supelco)

100% Acetic Acid Buffer – pH 3.6

600 micro liters / min

Figure 9.

10 cm Discovery RP Amide C16 Column (Supelco)

100% Acetic Acid Buffer – pH 3.6

400 micro liters / min

Figure 10.

10 cm Discovery RP Amide C16 Column (Supelco)

100% Acetic Acid Buffer – pH 3.6

400 micro liters / min

Figure 11.

Data from 100% Buffer – Acetic Acid – pH 3.6

400 micro liters/min

15 cm Discovery RP Amide C16 Column (Supleco)

Ranitidine

Figure 12.

15 cm Discovery RP Amide C16 Column (Supelco)

100% Acetic Acid Buffer

400 micro liters / min

Discussion

The structure of Ranitidine HCl and N,N’-dimethylnitroacetamidine, the model compound, are represented in Figures 1 and 2, respectively.  The model compound has the same functional group as the end of Ranitidine HCl that undergoes direct photolysis.

An understanding of the photodecomposition of the model compound can be found in Figure 3, which shows the PDA detector information for seven sample times.  The model compound peak is at 6.50 min, and the most significant decomposition peak is at 2.60 min, using the 10 cm RP Amide C16 column.  Mass Spectrometry indicates that the major species at these two peaks have the same mass-charge ratio, of 132.  This is the molecular weight of the model compound.  Figure 4 shows that even though they have the same ratio, they have different fragmentation patterns, the second fragmentation is for the model compound, and matches the standard.  As well the UV/Vis absorption is different for the two molecules, and you can see this in Figure 5, the second chromatogram is that of the model.

Ranitidine HCl shows similar characteristics, including the two different peaks having the same mass-charge ratio, 315.  Figure 6 shows the fragmentation patterns for both peaks, the decomposition product is first.  As well Figure 7 shows the same type of difference in the UV/Vis absorption as the model compound had, the bottom graph belongs to Ranitidine, the second peak studied.

The samples were concentrated to 1.5 mL and prepared for the same LC/MS sequence.  Figure 8 through Figure 10 show the difference effected on the separation and resolution of the model compound using different flow rates with the same isocratic method on the 10 cm RP Amide C16 column.  Figures 9 and 10 show little difference in the separation at a flow rate of 400 L/min compared to 200 L/min.  Figure 11 indicates that best separation currently, though resolution is still poor, using a flow rate of 400 L/min on the 15 cm RP Amide C16 column.  It has been observed that there are multiple peaks in the UV/Vis PDA detector output that are close, and had before concentration been seen as only one peak.  Effecting better resolution would allow each peak to be assigned a mass-charge ration, then fragmentation patterns, and then hopefully the fully elucidated structure.

Figure 12 indicates the separation of the Ranitidine HCl photodecom-position products run on the 15 cm column, using the isocratic Acetic Acid buffer.  It appears that Ranitidine HCl does not have this close packing of the decomposition products, as it occurred in the model compound.  Resolution does need to be increased to positively identify each peak as being a single species.

This is why separation is so important, as the sample enters the mass spec it is hard to assign mass-charge ratios if the resolution is not good, and MS/MS fragmentation patterns will be impossible to assign.

Conclusion

It Can be concluded that the photodecomposition products of N, N’ – Dimethylnitroacetamidine model the products of Ranitidine Hydrochloride, under the same conditions.  Future work will include determining what the structure of the products of the model compounds photolysis are.  And then apply that information to the products of Ranitidine HCl and determine if a similar structure does actually occur.  This will be completed with more fraction collections.

One possible Product is the rearrangement of the model compounds nitro group to form the following molecule.  This arrangement is more polar, may lose the N=O on the end, and fits the Mass Spec Data correctly.  The total loss of the nitro group also fits some of the other spectral data collected.

Being that the Mass Spec data indicates numerous mass fragments occurring at the same time, this is investigated and these peaks are the same daughter ion peaks of the known compounds, and occur because of the high temperature of the ESI Capillary tube.

Experimental Section:

General Procedure:

All High Pressure Liquid Chromatography, further referred to as LC, was completed with a Thermo Finnigan Surveyor® LC System.  The LC was equipped with a Photodiode Array detector, PDA, and Mass Spectrometer detector, MS.  The MS detector is a Thermo Finnigan LCQ Advantage, and uses a quadrupole ion trap.  The MS was equipped with an Electrospray Ionization source, ESI.5

A buffer solution consisting of 850 µL of Glacial Acetic Acid and .250 g of Ammonium Acetate diluted to 1000 mL with HPLC grade H2O.  The pH was balanced at 3.60, using NaOH or Acetic Acid if necessary.  This buffer solution is used on the LC as the mobile phase.  The method that was determined most effective at separation and resolution of the peaks is an isocratic 100 percent acetate buffer.  A previous buffer made with 700 µL concentrated Formic Acid diluted to 1000 mL with HPLC grade H2O and balanced at a pH of 3.00 was discontinued after an impurity was discovered in the Formic Acid.

The column used on the LC was a Discovery RP Amide C16 reverse phase made by Supelco®.  Two different columns were used one with length 10 cm by 4.6 cm and a longer column 15 cm by 4.6 cm.

Experimental Procedure:

Photolysis

The photolysis of both Ranitidine Hydrochloride and N, N’ – Dimethylnitroacetamidine were accomplished using a set of stock solutions of     4 mM concentration, which was diluted ten times for a concentration of 400 µM.  The stock and diluted solutions were made using HPLC grade water.  The diluted samples were placed in Quartz test tubes and set on a rack designed to hold them at a 45 degree angle to the sun.  The samples were prepared in a dark room, and covered with aluminum foil to avoid any extra photolysis.  The test tubes were then exposed to direct sunlight, and small samples were taken at time zero, and subsequent hour and two hour time periods.  These samples were prepared for the LC/MS sequence.

The samples of Ranitidine HCl and model compound that underwent photolysis each totaled about 250 mL.  These samples were dried to a solid using a SpeedVac system, over the course of 36 hours.  The solid was then redissolved in 1.5 mL of HPLC grade H2O to be used in the research of separation and resolution methods.

Footnotes

1)   Latch, Douglas E., Stender, Brian L., Packer, Jennifer L., Arnold, William A. and McNeill, Kristopher.  Photochemical Fate of Pharmaceuticals in the Environment: Cimetidine and Ranitidine. Environ. Sci. Technol. 2003, 37, 3342-3350

2)  Prescription List.  <http://www.rxlist.com/cgi/generic/ranit.htm>  August 2nd, 2003.

3)  Medicine Net Product Information.  <http://www.medicinenet.com/ranitidine/article.htm>  August 2nd, 2003.

4)  Christian G. Daughton and Thomas A. Ternes.  Pharmaceuticals and Personal Care Products in the Environment: Agents of Subtle Change?  Environmental Science Division, U.S. Environmental Protection Agency and Institute for Water Research and Water Technology, Wiesbaden-Schierstein Germany.  1991.

5)  Thermo Finnigan Product Page.  <http://www.thermofinnigan.com> August 4th, 2003.